## REV
Date | REV | Description | Initials
2019-07-09 | B | New serial number pulled for PToF cable on DISC2. Added rev tab. Added row in pToF cables sheet | DB
2019-07-12 | C | Pulled serial number for ptof cable on TNTB in 124. updated timing information | DB
2020-09-15 | D | Updated serial numbers for cable installs, added new cables to include timing information | DB
2022-03-31 | E | Added snout cable SNs for 14017033-14017037 | EM
2022-08-31 | F | Added snout cable timing for SNs 14017028-14017032 | EM
2022-10-27 | G | Added pTOF splitters SNs 14010181-14010188 | EM
2022-11-28 |  | Added DLP cables SNs 14010505-14010515 | EM

## PTOf cables
LLNL Drawing # or part number | Drawing name | Component Description | Smart Location | NIF Serial # | Time (ns) | TDR date | Location | Date | Comments | MFG SN | Applied Timing Dataset | Glovia Inventory | Column1 | Vent Holes
N5995-38313 | micro-coax | XRD-PCD 180 inch cable |  | 13182005 | 18.78 |  | GXD2/HGXI2 |  |  |  | Yes | Yes
N5995-38313 | micro-coax | XRD-PCD 180 inch cable |  | 13182006 | 18.742 |  | HGXI1 |  |  |  | Yes | Yes
N5995-45161 | micro-coax | XRD-PCD 150 inch cable |  | 13182010 | 15.5021 |  | HGX1 | 2011-11-22 |  |  | Yes | Yes
LEA11-102140 | "z" cable 85mm | Used on pcd PBT1 and PBT2 |  | 13254707 | 0.464 |  | HGXI2 | 2011-01-27 | Drawing in ECMS |  | Yes | Yes
LEA11-102141 | Snout cable 800 mm | Used on pcd PBT1 |  | 13254710 | 3.8856 |  | HGXI2 | 2011-01-27 | Drawing in ECMS |  | Yes | Yes
LEA11-102141 | Snout cable 800 mm | used on pcd PBT2 |  | 13254711 | 3.959 |  | HGXI2 | 2011-02-03 | 3.9639 jeff, Drawing in ECMS |  | Yes | Yes
LEA11-102141 | Snout cable 800 mm |  |  | 13254712 | 3.962 |  |  |  | 3.9658 jeff, Drawing in ECMS |  | Yes | Yes
LEA11-102141 | Snout cable 800 mm |  |  | 13254713 | 3.9718 |  |  |  | 3.9718 jeff, Drawing in ECMS |  | Yes | Yes
LEA10-108792 | Snout cable 850 mm | Not used backup if cable did not fit |  | 13254714 | 4.113 |  |  | 2011-02-02 | Drawing in ECMS |  | Yes | Yes
| Snout cable 85mm |  |  | 13254715 | [6 empty] | No Timing Data | Yes
LEA11-1021140 | Snout cable 90mm |  |  | 13254716 | [6 empty] | N/A | N/A
LEA11-1021140 | Snout cable 90mm |  |  | 13254717 | [6 empty] | N/A | N/A
LEA11-1021140 | Snout cable 90mm | [9 empty] | N/A | N/A
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 13254720 | 14.5998 |  |  | 2011-10-03 | reterminated TDRed12/14/11 |  | Yes | Yes |  | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 13254721 | 14.6676 |  |  | 2011-10-03 | reterminated TDRed12/14/11 |  | Yes | Yes |  | No
LEA11-111005 | Snout cable 3100mm |  |  | 13254722 | 14.7228 |  |  | 2011-10-03 | DAMAGED outer jacket. REMOVED FROM SERVICE |  | Yes | Yes
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 13254723 | 14.6972 |  |  | 2011-10-03 |  |  | Yes | Yes |  | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 13254724 | 14.6906 |  |  | 2011-10-03 |  |  | Yes | Yes |  | No
LEA11-102141 | Snout cable 800 mm |  |  | 13254725 | [6 empty] | No Timing Data | Yes
LEA11-102141 | Snout cable 800 mm |  |  | 13254726 | [6 empty] | No Timing Data | Yes
LEA11-102141 | Snout cable 800 mm |  |  | 13254727 | [6 empty] | No Timing Data | Yes
LEA11-102141 | Snout cable 800 mm |  |  | 13254728 | [6 empty] | No Timing Data | Yes
LEA11-1021140 | Snout cable 90mm |  |  | 13254729 | 0.4272ns |  |  | 2011-11-03 | No Drawing found in ECMS under the LEA#. FB 10/22/14 |  | N/A | N/A
LEA11-1021140 | Snout cable 90mm |  |  | 13254730 | 0.3964ns |  |  | 2011-11-03 | No Drawing found in ECMS under the LEA#. FB 10/22/14 |  | N/A | N/A
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable |  | 13254731 | 15.4946ns |  | dummy airbox | 2011-12-08 |  |  | Yes | Yes
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable |  | 13254732 | 15.49575ns |  | HGXI-2 | 2012-01-18 |  |  | Yes | Yes
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable |  | 13254733 | 15.4909ns |  | DISC-3 | 2012-02-15 |  |  | Yes | Yes
LEA13-111693 | Micro-Coax | XRD-PCD 150 inch cable-TVAC |  | 14016010 | 15.531 | 2015-01-22 |  | 2015-01-21 | Cable replaced SN 13254734. Micro-Coax UFB293C-0-1500-50U550 TVAC While installing GXD4 on alignment station on 4/7/16, it was noticed that the PToF cable appeared damaged. See attached photos GXD4 had just been removed from 90-78 the previous night | 345591-001 | N/A | N/A
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable |  | 13254735 | 15.5030ns |  | HGXD-1 | 2013-11-08 |  |  | Yes | yes
[11 empty] | N/A | N/A
| N tosma adapter |  |  |  | 0.1086 |  |  | 2011-11-22 |  |  | N/A | N/A
[11 empty] | N/A | N/A
[11 empty] | N/A | N/A
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016000 | 14.6185 | 2012-07-02 | glovia TDF2008C bin-RD3, ISTAT3 |  |  |  | Yes | Yes |  | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016001 | 14.634 | 2012-07-02 | glovia TDF2008C bin-RD3, ISTAT3 |  | Cold solder on connector . REMOVED FROM SERVICE |  | Yes | Yes
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016002 | 14.6141nS | 2012-07-02 | glovia TDF2008C bin-RD3, ISTAT3 |  | DAMAGED - Broken connector. REMOVED FROM SERVICE |  | Yes | Yes
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016003 | 14.6195 | 2012-07-02 | glovia TDF2008C bin-RD3, ISTAT3 |  |  |  | Yes | Yes |  | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016004 | 14.6279 | 2012-07-02 | glovia TDF2008C bin-RD3, ISTAT3 |  | DAMAGED - Broken connector. REMOVED FROM SERVICE |  | Yes | Yes
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016005 | 14.6261 | 2012-07-02 | glovia TDF2008C bin-RD3, ISTAT3 |  | DAMAGED outer jacket. REMOVED FROM SERVICE |  | Yes | Yes
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016006 | 14.6366 | 2012-07-02 | glovia TDF2008C bin-RD3, ISTAT3 |  |  |  | Yes | Yes |  | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016007 | 14.6142 | 2012-07-02 | glovia TDF2008C bin-RD3, ISTAT3 |  |  |  | Yes | Yes |  | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016008 | 14.6214 | 2012-07-02 | glovia TDF2008C bin-RD3, ISTAT3 |  |  |  | Yes | Yes |  | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016009 | 14.618 | 2012-07-02 | glovia TDF2008C bin-RD3, ISTAT3 |  |  |  | Yes | Yes |  | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016010A | 14.6776 |  |  |  |  | 06-43252.1.02 |  |  |  | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14016011A | 14.662 |  |  |  |  | 06-43252.1.01 |  |  |  | No
LEA11-111005 | Snout cable 3100mm
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017000 | 14.684 | [8 empty] | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017001 | 13.174 | [8 empty] | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017002 | 14.668 | [8 empty] | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017003 | 14.675 | [8 empty] | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017004 | 13.142 | [8 empty] | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017005 | 13.147 | [8 empty] | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017006 | 13.16 | [8 empty] | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017007 | 13.194 | [8 empty] | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017008 | 13.224 | [8 empty] | No
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017009
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017010
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017011
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017012
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017013
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017014
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017015
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017016
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017017
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017018
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017019
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017020
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017021
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017022
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017023
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017024
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017025
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017026
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017027
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017028 | 14.92
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017029 | 14.82
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017030 | 14.831 | [5 empty] | N/A | N/A
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017031 | 14.733
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017032 | 14.838
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017033 | 14.81
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017034 | 14.93
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017035 | 14.87
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017036 | 14.79
LEA11-111005 | Snout cable 3100mm | 3100 mm semi rigid cable |  | 14017037 | 14.84
LEA13-111693-AB | Micro-Coax | N-Type(F) to N-Type(M) 150 inches, |  | 14010505 | 15.529 | 2022-11-22
LEA13-111693-AB | Micro-Coax | N-Type(F) to N-Type(M) 150 inches, |  | 14010506 | 15.5605 | 2022-11-22
LEA13-111693-AB | Micro-Coax | N-Type(F) to N-Type(M) 150 inches, |  | 14010507 | 15.579 | 2022-11-22
LEA13-111693-AB | Micro-Coax | N-Type(F) to N-Type(M) 150 inches, |  | 14010508 | 15.5725 | 2022-11-22
LEA13-111693-AB | Micro-Coax | N-Type(F) to N-Type(M) 150 inches, |  | 14010509 | 15.5645 | 2022-11-22
LEA13-111693-AB | Micro-Coax | N-Type(F) to N-Type(M) 150 inches, |  | 14010510 | 15.56 | 2022-11-22
LEA13-111693-AB | Micro-Coax | N-Type(F) to N-Type(M) 150 inches, |  | 14010511 | 15.592 | 2022-11-22
LEA13-111693-AB | Micro-Coax | N-Type(F) to N-Type(M) 150 inches, |  | 14010512 | 15.5395 | 2022-11-22
LEA13-111693-AB | Micro-Coax | N-Type(F) to N-Type(M) 150 inches, |  | 14010513 | 15.5235 | 2022-11-22
LEA13-111693-AB | Micro-Coax | N-Type(F) to N-Type(M) 150 inches, |  | 14010514 | 15.53 | 2022-11-22
LEA13-111693-AB | Micro-Coax | N-Type(F) to N-Type(M) 150 inches, |  | 14010515 | 15.5255 | 2022-11-22
LEA13-111693 | Micro-Coax | XRD-PCD 150 inch cable-TVAC |  | 14016011 | 15.532 | 2015-01-22 | Not installed |  | Micro-Coax UFB293C-0-1500-50U550 TVAC | 345591-002 | N/A | N/A
LEA13-111693 | Micro-Coax | XRD-PCD 150 inch cable-TVAC |  | 14016012 |  |  | Not in LoCoS |  | Micro-Coax UFB293C-0-1500-50U550 TVAC | 345591-003 | N/A | N/A
LEA13-111693 | Micro-Coax | XRD-PCD 150 inch cable-TVAC |  | 14016013 |  |  | Not in LoCoS |  | Micro-Coax UFB293C-0-1500-50U550 TVAC | 345591-005 | N/A | N/A
LEA13-111693 | Micro-Coax | XRD-PCD 150 inch cable-TVAC |  | 14016020 | 15.551 | 2015-05-19 | Damaged. OSB CZ1
LEA13-111693 | Micro-Coax | XRD-PCD 150 inch cable-TVAC |  | 14016021 | 15.538 |  | TWGXD3 |  | was HGXD6F
LEA13-111693 | micro-coax | XRD-PCD 160 inch cable-TVAC |  | 14016025 | 16.63 |  | PCD?
LEA13-111693 | micro-coax | XRD-PCD 160 inch cable-TVAC |  | 14016026 | 16.61 |  | Not Installed, i-stat 4-9 |  | was GXD4. removed 4/20/2017
LEA13-111693 | micro-coax | XRD-PCD 160 inch cable-TVAC |  | 14016027 | 16.57 |  | TAFTRASH, i-stat 4
LEA13-111693 | micro-coax | XRD-PCD 160 inch cable-TVAC |  | 14016028 | 16.63 |  | DISC-3
LEA13-111693 | micro-coax | XRD-PCD 160 inch cable-TVAC |  | 14016029 | 16.585 |  | HGXD6 |  | Installed on
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable-TVAC |  | 14010490 | 15.487 | 2019-07-10 | DISC2 |  | Micro-Coax UFB293C-0-1500-50U550 TVAC
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable-TVAC |  | 14010491 | 15.4968 | 2019-07-12 | TNTB |  | Micro-Coax UFB293C-0-1500-50U550 TVAC
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable-TVAC |  | 14010492 | 15.5061 | 2020-09-11 | PToF
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable-TVAC |  | 14010493 | 15.5049 | 2020-09-11 | PToF
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable-TVAC |  | 14010494 | 15.4828 | 2020-09-11 | PToF
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable-TVAC |  | 14010495 | 15.4716 | 2020-09-11 | PToF
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable-TVAC |  | 14010496 | 15.5169 | 2020-09-11 | PToF
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable-TVAC |  | 14010497 | 15.5339 | 2020-09-11 | PToF
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable-TVAC |  | 14010498 | 15.4947 | 2020-09-11 | PToF
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable-TVAC |  | 14010499 | 15.4913 | 2020-09-11 | TWHGXD5 |  | Installed on TWHGXD5 11/13/2020
Rack Cables
LEA13-110042 | N-type (M) to SMA (M) 120inches, LL290HF | Rack Cable, FTD10000 to Tek Scope |  | 14010441 | 12.2626
LEA13-110042 | N-type (M) to SMA (M) 120inches, LL290HF | Rack Cable, FTD10000 to Tek Scope |  | 14010442 | 12.2525
LEA13-110042 | N-type (M) to SMA (M) 120inches, LL290HF | Rack Cable, FTD10000 to Tek Scope |  | 14010443 | 12.2185
LEA13-110042 | N-type (M) to SMA (M) 120inches, LL290HF | Rack Cable, FTD10000 to Tek Scope |  | 14010444 | 12.188
LEA13-110042 | N-type (M) to SMA (M) 120inches, LL290HF | Rack Cable, FTD10000 to Tek Scope |  | 14010445 | 12.201
LEA13-100043 | N-type(M) to N-type(M) 72 inches, LL290HF | Rack Cable, Bias T to FTD10000 Input |  | 14010481 | 7.3561
LEA13-100043 | N-type(M) to N-type(M) 72 inches, LL290HF | Rack Cable, Bias T to FTD10000 Input |  | 14010482 | 7.3365
Damaged Cables
LEA13-111693 | micro-coax | XRD-PCD 150 inch cable |  | 13254734 | 15.458ns |  | GXD-3 | 2013-12-10 | Cable was damaged Need to re-do TDR, possibly after new years when we get access to DLP cable 12/13/13 FB. A TDR was performed with the snout cable installed than a second TDR measurement was performed with the snout cable removed. This measurement confirmed that the cable is indeed 15.458ns. 05/29/14 FB |  | Yes | Yes | Cable

## detectors
ptof
LLNL Drawing # or part number | Drawing name | Component Description | Smart Location | NIF Serial # | Time (ns) | TDR date | Location | Date | Comments
Range |  |  |  | 1401400 to 14014099
AAA08-106361 |  | XRD-PCD |  | 14014000
AAA11-102132 | should be | PBT1 |  | 14014001 | 0.168 |  |  |  | Returned from MIT
AAA11-102132 |  | PBT2 |  | 14014002
AAA11-102132 |  | PBT3 |  | 14014003 | 0.168 |  |  |  | Returned from MIT
AAA11-102132 |  | PBT4 |  | 14014004 | 0.168 |  |  | 2011-05-11
AAA11-102132 |  | PBT5 |  | 14014005 | 0.168 |  |  | 2011-05-10
AAA11-102132 |  | PBT6 |  | 14014006 | 0.1762 |  |  | 2011-06-13
AAA11-102132 |  | PBT7 |  | 14014007
14014100 to 14014199
AAA11-105200 |  | Dectector 5mm DIA PCD1 |  | 14014101 |  |  | GXD1
AAA11-105200 |  | 5mm DIA PCD2 |  | 14014102 | 0.4587 |  | HGXI1 | 2011-08-19 | pcd + z cable at 26 ohms
AAA11-105200 |  | 5mm DIA PCD3 |  | 14014103 |  |  | GXD1 | 2011-12-21 | diamond 5 by 1 c protable tdr 48 ohms dsa82000 27
5mm DIA PCD1
5mm DIA PCD1
| N tosma adapter |  |  |  | 0.1086 |  |  | 2011-11-22

## pTOF Serial Numbers
Serial Number | Diag | CMT | Glovia | Equip Description | Time (ns) | Type | Mfg SN | Model | Manufacturer | Cluster ID | From (Marker #1) | To (Marker #3) | Cable Plant Circuit | Cable Build Drawing | Cable Owner | Control System | LRU | Bundle | Loc | Energy Category | PTS | P1 (rack-end) Interface Dwg | P2 (field-end) Interface Dwg | LRU Client Dwg #1 | LRU Client Dwg #2 | Troubleshooting Guide | Cable Procure Method | Generic Cable Class | Cable Fab Description | Cable Spec NIF # | Cable Mfg Description | Cable Sub | Num of Cable Conductors | P2 Zone | Cable Route Drawing | Cable Route | Overall Length (feet) | Zero Line Offset | Cable Fit-Up Drawing | Cable Hookup Drawing | Doc Num | Test Method | Cable Tester Record | Required Status | Received Status | PULLed Status | P2 TERMed Status | P1 TERMed Status | TESTed Status | ACCEPTed Status | Punch List | Work Order and/or Notes | Last Updated | Temp Work Space | Temp Work Space | New FROM | Verification | NOTES | Cal Value | Value | Man Abbrev | Label type | 1st line of label | RI for Equip Cals | CR Cal Req | CF Cal Freq | Service Expiration | Orig Purch/Cal Date | Cal Date-2
14010001
14010002 | [18 empty] | ECMS
14010003 | [18 empty] | ECMS
14010004 | [18 empty] | ECMS
14010005 | [18 empty] | ECMS
14010006 | [18 empty] | ECMS
14010007 | [18 empty] | ECMS
14010008 | [18 empty] | ECMS
14010009 | [18 empty] | ECMS
14010010 | [18 empty] | ECMS
14010011
14010012 | [18 empty] | ECMS
14010013
14010014
14010015
14010016
14010017
ADAPTER
14010018 | pTOF Adapters |  |  | Right Angle adapter | 0.18175
14010019 | pTOF Adapters |  |  | Right Angle adapter | 0.1832
14010020
14010021
14010022
14010023
14010024
14010025
14010026
14010027
14010028
14010029
14010030
14010031
14010032
14010033
14010034
14010035
14010036
14010037
14010038
14010039
Bias T | [13 empty] | N/A
14010040 | pTOF Bias T |  |  | Bias T, PPL 5531-901 |  | Bias T |  | 5531-901 | Picosecond Pulse Labs | NIF
14010041 | pTOF Bias T |  |  | Bias T, PPL 5531-901 |  | Bias T |  | 5531-901 | Picosecond Pulse Labs | NIF
14010042
14010043
14010044
14010045
14010046
14010047
14010048
14010049
14010050
14010051
14010052
14010053
14010054
14010055
14010056
14010057
14010058
14010059
14010060
SCOPES
14010061 | pTOF Scopes |  |  |  |  | Scope | [12 empty] | DM1:416:05
14010062 | [18 empty] | DM1:416:13
14010063 | [18 empty] | DM1:416:21
14010064 | [18 empty] | TB;F3:BT:ENC:R1:12
14010065 | [18 empty] | TB;F3:BT:ENC:R2:09
14010066 | [18 empty] | Repairs/Tektronix
14010067 | [18 empty] | DM1:414:05
14010068 | [18 empty] | DM1:414:13
14010069 | [18 empty] | DM1:414:21
14010070 | [18 empty] | DM1:412:05
14010071 | [18 empty] | DM1:412:13
14010072 | [18 empty] | DM1:412:21
14010073 | [18 empty] | DM1:411:17
14010074 | [18 empty] | DM1:410:05
14010075 | [18 empty] | DM1:410:13
14010076 | [18 empty] | DM1:410:21
14010077 | [18 empty] | DM2:334:05
14010078 | [18 empty] | DM2:334:13
14010079 | [18 empty] | DM2:335:22
14010080 | [18 empty] | DM1:416:01
14010081 | [18 empty] | DM1:414:01
14010082 | [18 empty] | TB;F3:BT:ENC:R2:17
14010083 | [18 empty] | B490 R1409
14010084 | [18 empty] | Repairs/Tektronix
14010085
14010086
14010087
14010088
14010089
14010090
14010091
14010092
14010093
14010094
14010095
14010096
14010097
14010098
HVPSs | [13 empty] | N/A
14010099 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:415:26:L
14010100 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:415:26:R
14010101 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:415:28:L
14010102 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | TB;F3:BT:ENC:R1R:01L
14010103 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | TB;F3:BT:ENC:R2R:01L
14010104 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | TB;F3:BT:ENC:R2R:01R
14010105 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:413:20:L
14010106 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:413:20:R
14010107 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:413:22:L
14010108 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:413:22:R
14010109 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:413:24:L
14010110 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:413:24:R
14010111 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:410:29:L
14010112 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:410:29:R
14010113 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:410:31:L
14010114 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM1:410:31:R
14010115 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM2:335:17:L
14010116 |  |  |  | HVPS, PS-350 |  | HVPS |  | PS-350 | Stanfor Research Systems | NIF |  |  |  | LEA04-101669 |  |  |  |  | DM2:335:17:R
LVPSs | [13 empty] | N/A
14010117 | [18 empty] | DM1:415:35
14010118 | [18 empty] | DM1:415:36
14010119 | [18 empty] | DM1:413:36
14010120 | [18 empty] | DM1:412:36
14010121 | [18 empty] | DM2:335:36
14010122
14010123
14010124
14010125 | [18 empty] | DM1:414:29:L
14010126 | [18 empty] | DM1:414:29:R
14010127 | [18 empty] | DM2:334:29:L
14010128
14010129
14010130
14010131 | [18 empty] | nTOF INVENTORY
14010132 | [18 empty] | nTOF INVENTORY
14010133 | [18 empty] | nTOF INVENTORY
14010134 | [18 empty] | nTOF INVENTORY
14010135 | [18 empty] | nTOF INVENTORY
14010136 | [18 empty] | nTOF INVENTORY
14010137 | [18 empty] | nTOF INVENTORY
14010138 | [18 empty] | nTOF INVENTORY
14010139 | [18 empty] | nTOF INVENTORY
14010140 | [18 empty] | nTOF INVENTORY
14010141 | [18 empty] | nTOF INVENTORY
14010142 | [18 empty] | nTOF INVENTORY
14010143 | [18 empty] | nTOF INVENTORY
14010144 | [18 empty] | nTOF INVENTORY
14010145 | [18 empty] | nTOF INVENTORY
14010146 | [18 empty] | nTOF INVENTORY
DEL GEN | [13 empty] | N/A
14010147 | [18 empty] | nTOF INVENTORY
14010148 | [18 empty] | nTOF INVENTORY
14010149 | [18 empty] | DM1:414:20
14010150 | [18 empty] | nTOF INVENTORY
14010151 | [18 empty] | nTOF INVENTORY
14010152 | [18 empty] | DM1:414:12
14010153 | [18 empty] | nTOF INVENTORY
14010154 | [18 empty] | nTOF INVENTORY
14010155
14010156
14010157 | [9 empty] | NIF
14010158 | [9 empty] | NIF
14010159
14010160
14010161 | [18 empty] | nTOF INVENTORY
14010162 | [18 empty] | nTOF INVENTORY
14010163 | [18 empty] | nTOF INVENTORY
14010164 | [18 empty] | nTOF INVENTORY
14010165 | [18 empty] | nTOF INVENTORY
14010166 | [18 empty] | nTOF INVENTORY
14010167
14010168 | [18 empty] | nTOF INVENTORY
14010169 | [18 empty] | nTOF INVENTORY
14010170 | [18 empty] | nTOF INVENTORY
14010171 | [18 empty] | nTOF INVENTORY
14010172 | [18 empty] | nTOF INVENTORY
14010173 | [18 empty] | nTOF INVENTORY
14010174 | [18 empty] | nTOF INVENTORY
14010175
14010176 | [9 empty] | NIF
DIVIDERS | [13 empty] | N/A
14010177 | pTOF Divider |  |  | Pwr Div-PPL-18 Ghz-6db-1 SMA(M)Plug-2 SMA(F) Jack | Port2 0.1713/Port3 0.1715 | Divider | 3137835 | 5331-104 | Picosecond Pulse Labs | NIF
14010178 | pTOF Divider |  |  | Pwr Div-PPL-18 Ghz-6db-1 SMA(M)Plug-2 SMA(F) Jack | Port2 0.1715/Port3 0.1708 | Divider | 3137836 | 5331-104 | Picosecond Pulse Labs | NIF
14010179 | pTOF Divider |  |  | Pwr Div-PPL-18 Ghz-6db-1 SMA(M)Plug-2 SMA(F) Jack | Port2 0.1709/ Port3 0.1705 | Divider | 3137840 | 5331-104 | Picosecond Pulse Labs | NIF
14010180 | pTOF Divider |  |  | Pwr Div-PPL-18 Ghz-6db-1 SMA(M)Plug-2 SMA(F) Jack | Port2 0.1705/Port 3 0.1690 | Divider | 3137846 | 5331-104 | Picosecond Pulse Labs | NIF
14010181 | pTOF Divider |  | 10109231 | Mini-circuit Power Splitter, DC-18GHz, SMA(M)-SMA(F)-SMA(F) |  | Divider | NA | ZFRSC-183-7+ | Mini-Circuits | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010182 | pTOF Divider |  | 10109231 | Mini-circuit Power Splitter, DC-18GHz, SMA(M)-SMA(F)-SMA(F) |  | Divider | NA | ZFRSC-183-7+ | Mini-Circuits | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010183 | pTOF Divider |  | 10109231 | Mini-circuit Power Splitter, DC-18GHz, SMA(M)-SMA(F)-SMA(F) |  | Divider | NA | ZFRSC-183-7+ | Mini-Circuits | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010184 | pTOF Divider |  | 10109231 | Mini-circuit Power Splitter, DC-18GHz, SMA(M)-SMA(F)-SMA(F) |  | Divider | NA | ZFRSC-183-7+ | Mini-Circuits | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010185 | pTOF Divider |  | 10109231 | Mini-circuit Power Splitter, DC-18GHz, SMA(M)-SMA(F)-SMA(F) |  | Divider | NA | ZFRSC-183-7+ | Mini-Circuits | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010186 | pTOF Divider |  | 10109231 | Mini-circuit Power Splitter, DC-18GHz, SMA(M)-SMA(F)-SMA(F) |  | Divider | NA | ZFRSC-183-7+ | Mini-Circuits | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010187 | pTOF Divider |  | 10109231 | Mini-circuit Power Splitter, DC-18GHz, SMA(M)-SMA(F)-SMA(F) |  | Divider | NA | ZFRSC-183-7+ | Mini-Circuits |  |  |  |  | N5985-39031
14010188 | pTOF Divider |  | 10109231 | Mini-circuit Power Splitter, DC-18GHz, SMA(M)-SMA(F)-SMA(F) |  | Divider | NA | ZFRSC-183-7+ | Mini-Circuits |  |  |  |  | N5985-39031
14010189 | [13 empty] | N5985-39031
14010190 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | DM1:414:20
14010191 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | DM1:414:12
14010192 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010193 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010194 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010195 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010196 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010197 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010198 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010199 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010200 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010201 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010202 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010203 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010204 | [9 empty] | NIF |  |  |  | N5985-39980 |  |  |  |  | nTOF INVENTORY
14010205 | [9 empty] | NIF
14010206 | [9 empty] | NIF
14010207 | [9 empty] | NIF
14010208 | [9 empty] | NIF |  |  |  | N5985-42508 |  |  |  |  | nTOF INVENTORY
14010209 | [9 empty] | NIF |  |  |  | N5985-42508 |  |  |  |  | nTOF INVENTORY
14010210 | [9 empty] | NIF |  |  |  | N5985-42508 |  |  |  |  | nTOF INVENTORY
14010211 | [9 empty] | NIF | TB:F3:BT:ENC:R1:19:1-2 Power Divider 7Ghz (13450097) | TB:F3:BT:ENC:R1:19:DETA(1), .5m, Jmprs (4ea) |  | N5985-42508 |  |  |  |  | nTOF INVENTORY
14010212 | [13 empty] | N5985-42508 |  |  |  |  | nTOF INVENTORY
14010213 | [13 empty] | N5985-42508 |  |  |  |  | nTOF INVENTORY
14010214 | [9 empty] | NIF | TB:F3:BT:ENC:R2:16:1-2 Power Divider 7Ghz (13450098) | TB:F3:BT:ENC:R2:16:DETA(1), .5m, Jmprs (4ea) |  | N5985-42508 |  |  |  |  | nTOF INVENTORY
14010215 | [9 empty] | NIF | TB:F3:BT:ENC:R2:24:1-2 Power Divider 7Ghz (13450099) | TB:F3:BT:ENC:R2:24:DETA(1), .5m, Jmprs (4ea) |  | N5985-42508 |  |  |  |  | nTOF INVENTORY
14010216 | [9 empty] | NIF |  |  |  | N5985-42508 |  |  |  |  | nTOF INVENTORY
14010217 | [9 empty] | NIF |  |  |  | N5985-44232
14010218 | [9 empty] | NIF |  |  |  | N5985-44232
14010219 | [9 empty] | NIF |  |  |  | N5985-44232
14010220 | [9 empty] | NIF |  |  |  | N5985-44232
14010221 | [9 empty] | NIF |  |  |  | N5985-44232
14010222 | [9 empty] | NIF |  |  |  | N5985-44232
14010223 | [9 empty] | NIF |  |  |  | N5985-44232
14010224 | [9 empty] | NIF |  |  |  | N5985-44232
14010225 | [9 empty] | NIF
14010226 | [9 empty] | NIF
14010227 | [9 empty] | NIF |  |  |  | N5985-46498 |  |  |  |  | nTOF3.9-DSF-MZ
14010228 | [9 empty] | NIF |  |  |  | N5985-46498 |  |  |  |  | nTOF INVENTORY
14010229 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010230 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010231 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010232 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010233 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010234 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010235 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010236 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010237 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010238 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010239 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010240 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010241 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010242 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010243 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010244 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010245 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010246 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010247 | [9 empty] | NIF |  |  |  | N5985-44233
14010248 | [9 empty] | NIF
14010249 | [9 empty] | NIF
14010250 | [9 empty] | NIF
14010251 | [9 empty] | NIF
14010252 | [9 empty] | NIF
14010253 | [9 empty] | NIF
14010254 | [9 empty] | NIF
14010255 | [9 empty] | NIF
14010256 | [9 empty] | NIF
14010257 | [9 empty] | NIF |  |  |  | n5930-43457 |  |  |  |  | nTOF3.9-DSF-MZ
14010258 | [9 empty] | NIF |  |  |  | N5930-46949 |  |  |  |  | nTOF INVENTORY
14010259 | [9 empty] | NIF |  |  |  | N5930-46949 |  |  |  |  | nTOF INVENTORY
14010260 | [9 empty] | NIF |  |  |  | N5930-46949 |  |  |  |  | nTOF INVENTORY
14010261 | [9 empty] | NIF
14010262 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010263 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010264 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010265 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010266 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010267 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010268 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010269 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010270 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010271 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010272 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010273 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010274 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010275 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010276 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010277 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010278 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010279 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010280 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010281 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010282 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010283 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010284 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010285 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010286 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010287 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010288 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010289 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010290 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010291 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010292 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010293 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010294 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010295 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010296 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010297 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010298 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010299 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010300 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010301 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010302 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010303 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010304 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010305 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010306 | [9 empty] | NIF |  |  |  | N5985-49514 |  |  |  |  | nTOF INVENTORY
14010307 | [9 empty] | NIF
14010308 | [9 empty] | NIF
14010309 | [9 empty] | NIF
14010310 | [9 empty] | NIF
14010311 | [9 empty] | NIF
14010312 | [9 empty] | NIF
14010313 | [9 empty] | NIF
14010314 | [9 empty] | NIF
14010315 | [9 empty] | NIF
14010316 | [9 empty] | NIF
14010317 | [13 empty] | N/A
14010318 | [9 empty] | NIF
14010319 | [9 empty] | NIF
14010320 | [9 empty] | NIF
14010321 | [9 empty] | NIF
14010322 | [9 empty] | NIF
14010323 | [9 empty] | NIF
14010324 | [9 empty] | NIF
14010325 | [9 empty] | NIF
14010326 | [9 empty] | NIF
14010327 | [9 empty] | NIF
14010328 | [9 empty] | NIF
14010329 | [9 empty] | NIF
14010330 | [9 empty] | NIF
14010331 | [9 empty] | NIF
14010332 | [9 empty] | NIF
14010333 | [9 empty] | NIF
14010334 | [9 empty] | NIF
14010335 | [9 empty] | NIF
14010336 | [9 empty] | NIF
14010337 | [9 empty] | NIF
ATTEN | [13 empty] | N/A
13257504 | pTOF Atten |  |  | Coax Attenuator-20dB, N-type (M) to N-type(F) | 0.29 | Atten |  |  | Barth
13452591 | pTOF Atten |  |  | Coax Attenuator-10dB, N-type (M) to N-type(F) | 0.211 | Atten | C00278 |  | Aeroflex/Weinschel |  |  |  |  | N5985-46491
14010338 | [9 empty] | NIF
14010339 | [9 empty] | NIF
14010340 | [9 empty] | NIF
14010341 | [9 empty] | NIF
14010342 | [9 empty] | NIF
14010343 | [9 empty] | NIF
14010344 | [9 empty] | NIF
14010345 | [9 empty] | NIF
14010346 | [9 empty] | NIF
14010347 | [9 empty] | NIF
14010348 | [9 empty] | NIF
14010349 | [9 empty] | NIF
14010350 | [9 empty] | NIF
14010351 | [9 empty] | NIF
14010352 | [9 empty] | NIF
14010353 | [9 empty] | NIF
14010354 | [9 empty] | NIF
14010355 | [9 empty] | NIF
14010356 | [9 empty] | NIF
14010357 | [9 empty] | NIF
14010358 | [9 empty] | NIF
14010359 | [9 empty] | NIF
14010360 | [9 empty] | NIF
14010361 | [9 empty] | NIF
14010362 | [9 empty] | NIF
14010363 | [9 empty] | NIF
14010364 | [9 empty] | NIF
14010365 | [9 empty] | NIF
14010366 | [9 empty] | NIF
14010367 | [9 empty] | NIF
14010368 | [9 empty] | NIF
14010369 | [9 empty] | NIF
14010370 | [9 empty] | NIF
14010371 | [9 empty] | NIF
14010372 | [9 empty] | NIF
14010373 | [9 empty] | NIF
14010374 | [9 empty] | NIF
14010375 | [9 empty] | NIF
14010376 | [9 empty] | NIF
14010377 | [9 empty] | NIF
14010378 | [9 empty] | NIF
14010379 | [9 empty] | NIF
14010380 | [9 empty] | NIF
14010381 | [9 empty] | NIF
14010382 | [9 empty] | NIF
14010383 | [9 empty] | NIF
14010384 | [9 empty] | NIF
14010385 | [9 empty] | NIF
14010386 | [9 empty] | NIF
14010387 | [9 empty] | NIF
14010388 | [9 empty] | NIF
DETECTOR | [13 empty] | N/A
14010389
14010390
14010391
14010392
14010393
14010394
14010395
14010396
14010397
14010398
14010399
14010400
14010401
14010402
14010403
14010404
14010405
14010406
14010407
14010408
14010409
14010410
14010411
14010412
14010413
14010414
14010415
14010416
14010417
14010418
14010419
14010420
CABLES
14010421 | pTOF Cables |  |  | SMA(M) to SMA (M) Jumper Cables | 0.6862 | Cable
14010422 | pTOF Cables |  |  | SMA(M) to SMA (M) Jumper Cables | 0.6803 | Cable
14010423 | pTOF Cables |  |  | SMA(M) to SMA (M) Jumper Cables | 0.6938 | Cable
14010424 | pTOF Cables |  |  | SMA(M) to SMA (M) Jumper Cables | 0.692 | Cable
14010425
14010426
14010427
14010428
14010429
14010430
14010431
14010432
14010433
14010434
14010435
14010436
14010437
14010438
14010439
14010440
14010441 | pTOF Cables |  |  | N-type (M) to SMA (M) 120inches, LL290HF | 12.2626 | Cable |  | PCA9124-120 | Federal Custom Cable www.fccable.com |  |  |  |  | LEA13-110042
14010442 | pTOF Cables |  |  | N-type (M) to SMA (M) 120inches, LL290HF | 12.2525 | Cable |  | PCA9124-120 | Federal Custom Cable www.fccable.com |  |  |  |  | LEA13-110042
14010443 | pTOF Cables |  |  | N-type (M) to SMA (M) 120inches, LL290HF | 12.2185 | Cable |  | PCA9124-120 | Federal Custom Cable www.fccable.com |  |  |  |  | LEA13-110042
14010444 | pTOF Cables |  |  | N-type (M) to SMA (M) 120inches, LL290HF | 12.188 | Cable |  | PCA9124-120 | Federal Custom Cable www.fccable.com |  |  |  |  | LEA13-110042
14010445 | pTOF Cables |  |  | N-type (M) to SMA (M) 120inches, LL290HF | 12.201 | Cable |  | PCA9124-120 | Federal Custom Cable www.fccable.com |  |  |  |  | LEA13-110042
14010446
14010447
14010448
14010449
14010450
14010451
14010452
14010453
14010454
14010455
14010456
14010457
14010458
14010459
14010460
14010461 | pTOF Cables |  |  | N-Type (M) to SMA(M) 96 inches, LL290HF -NOT IN USE (Too short) | 9.8206 | Cable |  | PCA9124-96 | Federal Custom Cable www.fccable.com |  |  |  |  | LEA13-110042
14010462
14010463
14010464
14010465
14010466
14010467
14010468
14010469
14010470
14010471
14010472
14010473
14010474
14010475
14010476
14010477
14010478
14010479
14010480
14010481 | pTOF Cables |  |  | N-type(M) to N-type(M) 72 inches, LL290HF | 7.3561 | Cable |  | PCA9103-72 | Federal Custom Cable www.fccable.com |  |  |  |  | LEA13-100043
14010482 | pTOF Cables |  |  | N-type(M) to N-type(M) 72 inches, LL290HF | 7.3365 | Cable |  | PCA9103-72 | Federal Custom Cable www.fccable.com |  |  |  |  | LEA13-100043
14010483
14010484
14010485
14010486
14010487
14010488
14010489
14010490 | pTOF Cables |  | N5995-45161 | N-Type(F) to N-Type(M) 150 inches, | 15.4865 | Cable |  | UFB293C-0-1500-50U550 TVAX
14010491 | Ptof Cables |  | N5995-45161 | N-Type(F) to N-Type(M) 150 inches, | 15.4968 | Cable |  | UFB293C-0-1500-50U550 TVAX
14010492 | pTOF Cables |  | N5995-45161 | N-Type(F) to N-Type(M) 150 inches, | 15.5061 | Cable |  | UFB293C-0-1500-50U550 TVAX
14010493 | pTOF Cables |  | N5995-45161 | N-Type(F) to N-Type(M) 150 inches, | 15.5049 | Cable |  | UFB293C-0-1500-50U550 TVAX
14010494 | pTOF Cables |  | N5995-45161 | N-Type(F) to N-Type(M) 150 inches, | 15.4828 | Cable |  | UFB293C-0-1500-50U550 TVAX
14010495 | pTOF Cables |  | N5995-45161 | N-Type(F) to N-Type(M) 150 inches, | 15.4716 | Cable |  | UFB293C-0-1500-50U550 TVAX
14010496 | pTOF Cables |  | N5995-45161 | N-Type(F) to N-Type(M) 150 inches, | 15.5169 | Cable |  | UFB293C-0-1500-50U550 TVAX
14010497 | pTOF Cables |  | N5995-45161 | N-Type(F) to N-Type(M) 150 inches, | 15.5339 | Cable |  | UFB293C-0-1500-50U550 TVAX
14010498 | pTOF Cables |  | N5995-45161 | N-Type(F) to N-Type(M) 150 inches, | 15.4947 | Cable |  | UFB293C-0-1500-50U550 TVAX
14010499 | pTOF Cables |  | N5995-45161 | N-Type(F) to N-Type(M) 150 inches, | 15.4913 | Cable |  | UFB293C-0-1500-50U550 TVAX
14010500 | [5 empty] | Cable |  | UFB293C-0-1500-50U550 TVAX
14010501 | pTOF Cables |  |  | SHV(plug) to SHV (plug) 180 inches |  | Cable |  | CA2280-180 | Federal Custom Cable www.fccable.com |  |  |  |  | N5995-28551
14010502 | pTOF Cables |  |  | SHV(plug) to SHV (plug) 180 inches |  | Cable |  | CA2280-180 | Federal Custom Cable www.fccable.com |  |  |  |  | N5995-28551
14010503 | pTOF Cables |  |  | SHV(plug) to SHV (plug) 180 inches |  | Cable |  | CA2280-180 | Federal Custom Cable www.fccable.com |  |  |  |  | N5995-28551
14010504 | pTOF Cables |  |  | SHV(plug) to SHV (plug) 180 inches |  | Cable |  | CA2280-180 | Federal Custom Cable www.fccable.com |  |  |  |  | N5995-28551
14010505 | pTOF cables |  | LEA13-111693-AB | N-Type(F) to N-Type(M) 150 inches, | 15.529 | Cable |  | UFB293C
14010506 | pTOF cables |  | LEA13-111693-AB | N-Type(F) to N-Type(M) 150 inches, | 15.5605 | Cable |  | UFB293C
14010507 | pTOF cables |  | LEA13-111693-AB | N-Type(F) to N-Type(M) 150 inches, | 15.579 | Cable |  | UFB293C
14010508 | pTOF cables |  | LEA13-111693-AB | N-Type(F) to N-Type(M) 150 inches, | 15.5725 | Cable |  | UFB293C
14010509 | pTOF cables |  | LEA13-111693-AB | N-Type(F) to N-Type(M) 150 inches, | 15.5645 | Cable |  | UFB293C
14010510 | pTOF cables |  | LEA13-111693-AB | N-Type(F) to N-Type(M) 150 inches, | 15.56 | Cable |  | UFB293C
14010511 | pTOF cables |  | LEA13-111693-AB | N-Type(F) to N-Type(M) 150 inches, | 15.592 | Cable |  | UFB293C
14010512 | pTOF cables |  | LEA13-111693-AB | N-Type(F) to N-Type(M) 150 inches, | 15.5395 | Cable |  | UFB293C
14010513 | pTOF cables |  | LEA13-111693-AB | N-Type(F) to N-Type(M) 150 inches, | 15.5235 | Cable |  | UFB293C
14010514 | pTOF cables |  | LEA13-111693-AB | N-Type(F) to N-Type(M) 150 inches, | 15.53 | Cable |  | UFB293C
14010515 | pTOF cables |  | LEA13-111693-AB | N-Type(F) to N-Type(M) 150 inches, | 15.5255 | Cable |  | UFB293C
14010516
14010517
14010518
14010519
14010520
14010521
14010522
14010523
14010524
14010525
14010526
14010527
14010528
14010529
14010530
14010531
14010532
14010533
14010534
14010535
14010536
14010537
14010538
14010539
14010540
14010541
14010542
14010543
14010544
14010545
14010546
14010547
14010548
14010549
14010550
14010551
14010552
14010553
14010554
14010555
14010556
14010557
14010558
14010559
14010560
14010561
14010562
14010563
14010564
14010565
14010566
14010567
14010568
14010569
14010570
14010571
14010572
14010573
14010574
14010575
14010576
14010577
14010578
14010579
14010580
14010581
14010582
14010583
14010584
14010585
14010586
14010587
14010588
14010589
14010590
14010591
14010592
14010593
14010594
14010595
14010596
14010597
14010598
14010599
14010600
14010601
14010602
14010603
14010604
14010605
14010606
14010607
14010608
14010609
14010610
14010611
14010612
14010613
14010614
14010615
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
NIF
13450320 |  | X | X | PMT240 Akin |  | Detector | 21071031 | PMT240 Akin |  | NIF |  |  |  | N6660-39978 |  |  |  |  | nTOF INVENTORY | [38 empty] | Akin -4.8 kV
13450321 |  | X | X | PMT240 |  | Detector | 73080421 | PMT240 |  | NIF | nTOF4.5-D2 DET1(A) |  |  | N6660-39978 |  |  |  |  | nTOF INVENTORY | [38 empty] | -5 kV
13450322 |  | X | X | PMT140 |  | Detector | 23071031 | PMT140 |  | NIF | nTOF4.5-DTLo DET1(A) |  |  | N6660-39977 |  |  |  |  | nTOF INVENTORY | [38 empty] | -4.95 kV
13450323 |  | X | X | PD040 |  | Detector | 71081105 | PD040 |  | NIF | nTOF4.5-DTHi DET1(A) |  |  | N6032-42796 |  |  |  |  | nTOF INVENTORY | [38 empty] | -5 kV
13450324 | [9 empty] | NIF
13450325 |  | X | X | PD040 |  | Detector | 93100513 | PD040 |  | NIF |  |  |  | N6032-42796 |  |  |  |  | nTOF INVENTORY
13450326 |  |  |  | PD040 |  | Detector | 41110525 | PD040 |  | NIF |  |  |  | N6032-42796
13450327 |  |  |  | PD040 |  | Detector | 23110810 | PD040 |  | NIF |  |  |  | N6032-42796
13450328 |  | X | X | PMT240 |  | Detector | 91081212 | PMT240 |  | NIF | nTOF20 AL-IgLo DET1(A) |  |  | N6660-39978 |  |  |  |  | nTOF INVENTORY | [38 empty] | -5kV
13450329 |  | X | X | PMT140 |  | Detector | 22091104 | PMT140 |  | NIF | nTOF20 AL-IgLo DET3(C) |  |  | N6660-39977 |  |  |  |  | nTOF INVENTORY | [38 empty] | -5kV
13450330 |  | X | X | PMT140 |  | Detector | 72090717 | PMT140 |  | NIF | nTOF20 AL-IgLo DET2(B) |  |  | N6660-39977 |  |  |  |  | nTOF INVENTORY | [38 empty] | -5 kV
13450331 |  | X | X | PD040 |  | Detector | 21080704 | PD040 |  | NIF | nTOF20 AL-IgLo DET4(D) |  |  | N6032-42796 |  |  |  |  | nTOF INVENTORY
13450332 | [9 empty] | NIF
13450333 |  |  |  | PMT240 |  | Detector | 43110525 | PMT240 |  | NIF |  |  |  | N6660-39978
13450334 |  |  |  | PMT240 |  | Detector | 22111124 | PMT240 |  | NIF
13450335 | [9 empty] | NIF
13450336 | [9 empty] | NIF
13450337 | [9 empty] | NIF
13450338 |  |  |  | PMT140 |  | Detector | 22110810 | PMT140 |  | NIF |  |  |  | N6660-39977
13450339 |  |  |  | PMT140 |  | Detector | 21111124 | PMT140 |  | NIF
13450340 |  | X | X | PMT140 |  | Detector | 73090312 | PMT140 |  | NIF | nTOF20 AL-SPEC DET2(B) |  |  | N6660-39977 |  |  |  |  | nTOF INVENTORY | [38 empty] | -5 kV
13450341 |  | X | X | PMT240 |  | Detector | 92090320 | PMT240 |  | NIF | nTOF20 AL-SPEC DET1(A) |  |  | N6660-39978 |  |  |  |  | nTOF INVENTORY | [38 empty] | -5 kV
13450342 |  | X | X | PD040 |  | Detector | 91100513 | PD040 |  | NIF | nTOF20 AL-SPEC DET1(A) |  |  | N6032-42796 |  |  |  |  | nTOF INVENTORY
13450343 | [9 empty] | NIF
13450344 | [9 empty] | NIF
13450345 |  | X | X | PMT140 |  | Detector | 73080212 | PMT140 |  | NIF | nTOF20 EQ-SPEC DET2(B) |  |  | N6660-39977 |  |  |  |  | nTOF INVENTORY
13450346 |  | X | X | PMT240 |  | Detector | 72090119 | PMT240 |  | NIF | nTOF20 EQ-SPEC DET1(A) |  |  | N6660-39978 |  |  |  |  | nTOF INVENTORY | [38 empty] | -4.9 kV
13450347 |  | X | X | PD040 |  | Detector | 92100513 | PD040 |  | NIF | nTOF20 EQ-SPEC DET1(A) |  |  | N6032-42796 |  |  |  |  | nTOF INVENTORY
13450348 | [9 empty] | NIF
13450349 | [9 empty] | NIF
Scintillator | [13 empty] | N/A
13450350 |  | X | X | BC-422 D2 |  | Scintillator |  | BC-422 D2 |  | NIF |  |  |  | AAA10-109959 |  |  |  |  | nTOF INVENTORY | [38 empty] | 40 x 20 mm
13450351 |  | X | X | BC-422 D2 (Akin) |  | Scintillator |  | BC-422 D2 (Akin) |  | NIF |  |  |  | AAA10-109959 |  |  |  |  | nTOF INVENTORY | [38 empty] | 40 x 20 mm
13450352 |  | X | X | BC-422Q DTLo |  | Scintillator |  | BC-422Q DTLo |  | NIF |  |  |  | AAA10-109960 |  |  |  |  | nTOF INVENTORY | [38 empty] | 40 x 10 mm
13450353 |  | X | X | BC-422 DTHi |  | Scintillator |  | BC-422 DTHi |  | NIF |  |  |  | AAA10-109961 |  |  |  |  | nTOF INVENTORY | [38 empty] | 40 x 10 mm
13450354 |  | X | X | BC-422Q DTHi |  | Scintillator |  | BC-422Q DTHi |  | NIF |  |  |  | AAA10-109960 |  |  |  |  | nTOF INVENTORY | [38 empty] | 40 x 10 mm
13450355 |  |  |  | Bibenzyl Crystal Scintillator |  | Scintillator |  | D-NP-C-788 (N5955-50421) | UNIVERSITY OF ROCHESTER | NIF
13450356 |  | X | X | BC-422 IgLo |  | Scintillator |  |  |  | NIF |  |  |  | AAA10-112073 |  |  |  |  | nTOF INVENTORY
13450357 |  | X | X | BC-422Q IgLo |  | Scintillator |  |  |  | NIF |  |  |  | AAA10-112074 |  |  |  |  | nTOF INVENTORY
13450358 |  |  |  | Bibenzyl Crystal Scintillator |  | Scintillator |  | D-NP-C-788 (N5955-50421) | UNIVERSITY OF ROCHESTER | NIF
13450359 |  |  |  | Bibenzyl Crystal Scintillator |  | Scintillator |  | D-NP-C-788 (N5955-50421) | UNIVERSITY OF ROCHESTER | NIF
13450360 |  | X | X | p-Xyline Scint |  | Scintillator |  |  |  | NIF |  |  |  | AAA10-112071 |  |  |  |  | nTOF INVENTORY
13450361 |  | X | X | p-Xyline Scint |  | Scintillator |  |  |  | NIF |  |  |  | AAA10-112071 |  |  |  |  | nTOF INVENTORY
13450362 | [9 empty] | NIF
13450363 | [9 empty] | NIF
13451350 | [9 empty] | NIF
13451351 | [9 empty] | NIF
13451352 | [9 empty] | NIF
13451353 | [9 empty] | NIF
13451354 | [9 empty] | NIF
13451355 | [9 empty] | NIF
13451356 | [9 empty] | NIF
13451357 | [9 empty] | NIF
13451358 | [9 empty] | NIF
13451359 | [9 empty] | NIF
13451360 | [9 empty] | NIF
13451361 | [9 empty] | NIF
13451362 | [9 empty] | NIF
13451363 | [9 empty] | NIF
PIG/Shield | [13 empty] | N/A
13450364 | [9 empty] | NIF
13450365 | [9 empty] | NIF
13450366 |  |  | X | nTOF4.5-BT Shld/Filter Assembly, Cu/Tin |  | Shield |  |  |  | NIF |  |  |  | AAA11-106370
13450367 |  |  | X | nTOF4.5-BT Shld/Filter Assembly, 5Fe3.4_10Fe1.7_16 |  | Shield |  |  |  | NIF |  |  |  | AAA11-103810
13450368 |  | X | X | nTOF4.5-BT Shld/Filter Assembly, 5Fe1.7_10Fe1.7_16 |  | Shield |  |  |  | NIF |  |  |  | AAA10-118293
13450369 |  | X | X | Lead pig |  | Shield |  |  |  | NIF |  |  |  | AAA10-112076
13450370 |  | X | X | 13450382, 13450320, and 13450351 |  | Shield |  |  | LLE |  |  |  |  | AAA09-104245 | [43 empty] | Scintillator Det w/Lead pig D2 (Akin)
13450371 |  | X | X | 13450381, 13450320, and 13450351 |  | Shield |  |  | LLE |  |  |  |  | AAA09-113302 | [43 empty] | Scintillator Det w/Alum pig D2 (Akin)
13450372 |  | X | X | 13450380 and 13450350 |  | Shield |  | D2 Pb | LLE |  |  |  |  | AAA09-104245 |  |  |  |  | TC064-275 | [38 empty] | Lead pig and scintillator D2
13450373 |  | X | X | 13450381 and 13450350 |  | Shield |  | D2 Al | LLE |  |  |  |  | AAA09-113302 | [43 empty] | Aluminum pig and scintillator D2
13450374 |  | X | X | 13450382 and 13450351 |  | Shield |  | D2 Akin Pb | LLE |  |  |  |  | AAA09-104245 |  |  |  |  | TC064-309 | [38 empty] | Lead pig and scintillator D2 (Akin)
13450375 |  | X | X | 13450383 and 13450352 |  | Shield |  | DTLo Pb | LLE |  |  |  |  | AAA09-104246 | [43 empty] | Lead pig and scintillator DTLo
13450376 | [9 empty] | NIF
13450377 |  | X | X | nTOF4.5-BT Shld/Pb Assembly, Lead |  | Shield |  |  |  | NIF |  |  |  | AAA10-109235
13450378 |  | X | X | W Filter 12.5 mm |  | Shield |  |  |  | NIF |  |  |  | AAA09-109596-01
13450379 |  | X | X | W Filter 12.5 mm |  | Shield |  |  |  | NIF |  |  |  | AAA09-109596-01
13450380 |  | X | X | Lead pig D2 |  | Shield |  | D2 Pb | LLE | NIF |  |  |  | AAA10-112076 |  |  |  |  | TC064-275 | [38 empty] | AAA09-104245 is old part number used prior to 9/15/10
13450381 |  | X | X | Aluminum pig |  | Shield |  | D2 Al | LLE | NIF |  |  |  | AAA09-113302
13450382 |  | X | X | Lead pig D2 (Akin) |  | Shield |  | D2 Akin Pb | LLE | NIF |  |  |  | AAA10-112076 |  |  |  |  | TC064-309 | [38 empty] | AAA09-104245 is old part number used prior to 9/15/10
13450383 |  | X | X | Lead pig DTLo |  | Shield |  | DTLo Pb | LLE | NIF |  |  |  | AAA10-112076 | [43 empty] | AAA09-104246 is old part number used prior to 9/15/10
13450384 |  | X | X | Lead pig DTHi |  | Shield |  | DTHi Pb | LLE | NIF |  |  |  | AAA10-112076 | [43 empty] | AAA09-104247 is old part number used prior to 9/15/10
13451364 | [9 empty] | NIF
13451365 | [9 empty] | NIF
13451366 | [9 empty] | NIF
13451367 | [9 empty] | NIF
13451368 | [9 empty] | NIF
13451369 | [9 empty] | NIF
13451370 | [9 empty] | NIF
13451371 | [9 empty] | NIF
13451372 | [9 empty] | NIF
13451373 | [9 empty] | NIF
13451374 | [9 empty] | NIF
13451375 | [9 empty] | NIF
13451376 | [9 empty] | NIF
13451377 | [9 empty] | NIF
13451378 | [9 empty] | NIF
13451379 | [9 empty] | NIF
13451380 | [9 empty] | NIF
13451381 | [9 empty] | NIF
13451382 | [9 empty] | NIF
13451383 |  |  |  | Shield 5 mm CVDD (W) | [5 empty] | NIF |  |  |  | AAA12-103129
13451384 |  |  |  | Side Shield (W) |  | Shield |  |  | LLNL | NIF |  |  |  | AAA11_112007
CVD | [13 empty] | N/A
13450385 |  | X | X | CVDD 24x1 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA10-112078 |  |  |  |  | nTOF INVENTORY
13450386 |  | X | X | CVDD 10x1 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA09-113301 |  |  |  |  | nTOF INVENTORY
13450387 |  | X | X | CVDD 10x1 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA09-113301 |  |  |  |  | nTOF INVENTORY
13450388 |  | X | X | CVDD 5x.25 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA10-112075 |  |  |  |  | nTOF INVENTORY
13450389 |  |  |  | CVDD 2x2 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | 5036945 | [43 empty] | -500 volts max
13450390 |  |  | X | CVDD 2x2 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | 5036945 | [43 empty] | -750 volts max, Arced and blew scope
13450391 |  | X | X | CVDD 10x1 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA09-113301 |  |  |  |  | nTOF INVENTORY
13450392 |  | X | X | CVDD 16.5x1 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA10-112077 |  |  |  |  | nTOF INVENTORY
13450393 |  | X | X | CVDD 5x0.25 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA10-112075 |  |  |  |  | nTOF INVENTORY
13450394 |  |  |  | CVDD 10x1 W cap (RF Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA11-107379
13450395 |  | X | X | CVDD 10x1 W cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA11-107379
13450396 |  |  | X | CVDD 10x1 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA09-113301
13450397 |  |  |  | CVDD 10x1 Al cap (RF Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA09-113301
13450398 |  | X | X | Detector CVD Diamond |  | Detector |  |  | LLE | NIF |  |  |  | AAA09-113301 |  |  |  |  | nTOF INVENTORY
13450399 |  | X |  | Detector 50 ohm Load |  | Detector |  |  | LLE | NIF |  |  |  | N5935-39858 |  |  |  |  | nTOF INVENTORY
13451385 |  |  |  | CVDD 5x0.25 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA10-112075
13451386 |  |  |  | CVDD 5x0.25 Al cap (RF Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA10-112075
13451387 |  |  |  | CVDD 5x0.25 Al cap (RF Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA10-112075
13451388 |  |  |  | CVDD 5x0.25 Al cap (RF Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA10-112075
13451389 | [9 empty] | NIF
13451390 | [9 empty] | NIF
13451391 | [9 empty] | NIF
13451392 | [9 empty] | NIF
13451393 | [9 empty] | NIF
13451394 | [9 empty] | NIF
13451395 | [9 empty] | NIF
13451396 |  |  |  | CVDD 5x.25 Al cap (NULL) |  | Detector |  |  |  | NIF |  |  |  | AAA10-112075
13451397 |  |  |  | CVDD 10x1 Al cap (NULL) |  | Detector |  |  |  | NIF |  |  |  | AAA09-113301
13451398 |  |  |  | CVDD 5x.25 Al cap (Optical Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA10-112075
13451399 |  |  |  | CVDD 10x2 Al cap (RF Quality) |  | Detector |  |  |  | NIF |  |  |  | AAA11-110855 | [43 empty] | This was a mistake by the manufacturer and was suppose to be a 10x1
Mach Zehnder | [13 empty] | N/A
13452370 |  | X |  | Mach-Zehnder, 10-12.5 Gb/s, MZ-1 |  | MZ | 1F04CB01 | F10-0-13P-PS-FAFA-01 | oclaro | NIF |  |  |  | N6034-45114 |  |  |  |  | nTOF INVENTORY
13452371 |  | X |  | Mach-Zehnder, 10-12.5 Gb/s, MZ-2 |  | MZ | 1F04CB03 | F10-0-13P-PS-FAFA-01 | oclaro | NIF |  |  |  | N6034-45114 |  |  |  |  | nTOF INVENTORY
13452372 |  | X |  | Mach-Zehnder, 10-12.5 Gb/s, MZ-3 |  | MZ | 1F04CB04 | F10-0-13P-PS-FAFA-01 | oclaro | NIF |  |  |  | N6034-45114 |  |  |  |  | nTOF INVENTORY
13452373 |  | X |  | Mach-Zehnder, 10-12.5 Gb/s |  | MZ | 1F057A01 | F10-0-13P-PS-FAFA-01 | oclaro | NIF |  |  |  | N6034-45114 |  |  |  |  | nTOF INVENTORY
13452374 |  |  |  | Mach-Zehnder, 10-12.5 Gb/s, MZ-1 |  | MZ | TBD | LN95-10-S-A-A-NS-PKGMOD | THORLABS QUANTUM ELECTRONICS,INC. | NIF |  |  |  | AAA12-104253 |  |  |  |  | nTOF INVENTORY
13452375 |  |  |  | Mach-Zehnder, 10-12.5 Gb/s, MZ-2 |  | MZ | TBD | LN95-10-S-A-A-NS-PKGMOD | THORLABS QUANTUM ELECTRONICS,INC. | NIF |  |  |  | AAA12-104253 |  |  |  |  | nTOF INVENTORY
13452376 |  |  |  | Mach-Zehnder, 10-12.5 Gb/s, MZ-3 |  | MZ | TBD | LN95-10-S-A-A-NS-PKGMOD | THORLABS QUANTUM ELECTRONICS,INC. | NIF |  |  |  | AAA12-104253 |  |  |  |  | nTOF INVENTORY
13452377 |  |  |  | Mach-Zehnder, 10-12.5 Gb/s, MZ-4 |  | MZ | TBD | LN95-10-S-A-A-NS-PKGMOD | THORLABS QUANTUM ELECTRONICS,INC. | NIF |  |  |  | AAA12-104253 |  |  |  |  | nTOF INVENTORY
13452378 |  |  |  | Mach-Zehnder, 10-12.5 Gb/s, MZ-5 |  | MZ | TBD | LN95-10-S-A-A-NS-PKGMOD | THORLABS QUANTUM ELECTRONICS,INC. | NIF |  |  |  | AAA12-104253 |  |  |  |  | nTOF INVENTORY
13452379 |  |  |  | Mach-Zehnder, 10-12.5 Gb/s, MZ-6 |  | MZ | TBD | LN95-10-S-A-A-NS-PKGMOD | THORLABS QUANTUM ELECTRONICS,INC. | NIF |  |  |  | AAA12-104253 |  |  |  |  | nTOF INVENTORY
13452380 |  |  |  | Mach-Zehnder, 10-12.5 Gb/s, Spare |  | MZ | TBD | LN95-10-S-A-A-NS-PKGMOD | THORLABS QUANTUM ELECTRONICS,INC. | NIF |  |  |  | AAA12-104253 |  |  |  |  | nTOF INVENTORY
13452381 | [9 empty] | NIF
13452382 | [9 empty] | NIF
13452383 | [9 empty] | NIF
13452384 | [9 empty] | NIF
13452385 | [9 empty] | NIF
13452386 | [9 empty] | NIF
13452387 | [9 empty] | NIF
13452388 | [9 empty] | NIF
13452389 | [9 empty] | NIF
13452390 | [9 empty] | NIF
13452391 | [9 empty] | NIF
13452392 | [9 empty] | NIF
13452393 | [9 empty] | NIF
13452394 | [9 empty] | NIF
13452395 | [9 empty] | NIF
13452396 | [9 empty] | NIF
13452397 | [9 empty] | NIF
13452398 | [9 empty] | NIF
13452399 | [9 empty] | NIF
CABLES | [13 empty] | N/A
4.5-D2-DETA |  | X | [11 empty] | x
963026 |  | X | X | SIG, D2, SP1, INFRA-2 |  | Signal |  | LMR400LLPL/35ft/NM/NM | Times Microwave |  | TB:F3:JB2:A1:J4 | TB:F3:JB1:A1:J4 |  | LEA09-109718 |  |  |  |  | nTOF-D2
963078 |  | X | X | SIG, D2, SP2, INFRA-2 |  | Signal |  | LMR400LLPL/35ft/NM/NM | Times Microwave |  | TB:F3:JB2:A1:J7 | TB:F3:JB1:A1:J7 |  | LEA09-109718 |  |  |  |  | nTOF-D2
13450400 |  | X | X | SIG, D2, DETA, 11FT |  | Signal |  | RG142/11ft/NM/NM | LLE |  | TB:F3:DWB1:DETA:SIG | TB:F3:JB2:A1:J1 |  | LEA09-113261 |  |  |  |  | nTOF-D2
13450401 |  | X | X | SIG, D2, DETA, 2.5m, Jmpr, INTR RACK |  | Signal |  | LMR195/2.5m/NM/SMAM | Times Microwave | NIF | DM1:415R:03:J1R | DM1 416:12:ATTN/DIV |  | LEA09-113131 |  |  |  |  | nTOF-D2
13450402 |  | X | X | SIG D2, DETA, .5m, Jmpr, INTR RACK |  | Signal |  | LMR195/0.5m/SMAM/BNCM | Times Microwave | NIF | DM1:416:12:ATTN/DIV | DM1:416:05:S1:CH2 |  | LEA08-108459 |  |  |  |  | nTOF-D2
13450403 |  | X | X | SIG D2, DETA, .5m, Jmpr, INTR RACK |  | Signal |  | LMR195/0.5m/SMAM/BNCM | Times Microwave | NIF | DM1:416:12:ATTN/DIV | DM1:416:05:S1:CH3 |  | LEA08-108459 |  |  |  |  | nTOF-D2
13450404 |  | X | X | SIG D2, DETA, .5m, Jmpr, INTR RACK |  | Signal |  | LMR195/0.5m/SMAM/BNCM | Times Microwave | NIF | DM1:416:12:ATTN/DIV | DM1:416:05:S1:CH4 |  | LEA08-108459 |  |  |  |  | nTOF-D2
13450405 |  |  |  | HV, D2, DETA |  | HV |  | RG59/SHV/SHV | LLE | NIF | TB:F3:DWB1:DETA:HV | TB:F3:JB2:A1:J2 |  | LEA09-113132 |  |  |  |  | nTOF-D2
13450407 |  |  |  | Control TRG, D2. DETA |  | Control |  | CCS58AB-1 | L-Control | NIF | TB:F3:DWB1:DETA:TRG | TB:F3:DWB1:DETA:GU:OUT |  | N5995-39679 |  |  |  |  | nTOF-D2
13450408 |  |  |  | Control TRG, D2, DETA, Control UNIT |  | Control |  | RG142/SMA/SMA | THERMAX | NIF | TB:F3:DWB1:DETA:GU:TRG:IN | TB:F3:JB2:A1:J3 |  | LEA09-109720 |  |  |  |  | nTOF-D2
13450409 |  |  |  | Control TRG, D2, DETA, Jmpr INTR RACK |  | Control |  | LMR195/SM/BM | LLL | NIF | DM1:415R:03:J3R | DM1:416:29L:TRIG, A-B NEG |  | LEA08-108459 |  |  |  |  | nTOF-D2
13450415 |  | X | X | SIG D2, DETA, .5m, Jmpr, INTR RACK |  | Signal |  | LMR195/0.5m/SMAM/BNCM | Times Microwave | NIF | DM1:416:12:ATTN/DIV | DM1:416:05:S1:CH1 |  | LEA08-108459 |  |  |  |  | nTOF-D2
13450416 |  | X | X | SIG, D2, SP1, 2.5m, Jmpr, INTR RACK |  | Signal |  | LMR195/2.5m/NM/SMAM | LLNL | NIF | DM1:415R:03:J4R | DM1 416:12 |  | LEA09-113131 |  |  |  |  | nTOF-D2
13450417 |  | X | X | SIG, D2, SP2, 2.5m, Jmpr, INTR RACK |  | Signal |  | LMR195/2.5m/NM/SMAM | LLNL | NIF | DM1:415R:03:J7R | DM1 416:12 |  | LEA09-113131 |  |  |  |  | nTOF-D2
13450427 | [9 empty] | NIF
13450428 |  |  |  | SIG, D2-AKIN Open Air TB Test, 11FT |  | Signal |  | RG142/11ft/NM/NM | LLNL | NIF | TB:F3:D2AKIN DET: near DWB1 | TB:F3:JB2:A1:J1 |  | LEA09-113261 |  |  |  |  | nTOF-D2
13450430 |  | X | X | SIG, D2, SURROControl, 11FT |  | Signal |  | RG142/11ft/NM/NM | LLE | NIF | TB:F3:TBD | TB:F3:JB2:TBD |  | LEA09-113261 |  |  |  |  | nTOF-D2
13450431 |  | X | X | SIG, D2, SP2, 11FT |  | Signal |  | RG142/11ft/NM/NM | LLE | NIF | TB:F3:DWB1 | TB:F3:JB2:A1:J7 |  | LEA09-113261 |  |  |  |  | nTOF-D2
13450432 |  | X | X | SIG, D2AKIN, DTLo WELL, DETA CBL1 |  | Signal |  | RG142/11ft/NM/NM | LLNL | NIF | D2AKIN:DETA in DTLo Well:SIG | InLnCbl-Cbl NM/NM CONN |  | LEA09-113261 |  |  |  |  | nTOF INVENTORY
13450433 |  | X | X | SIG, D2AKIN, DTLo Well, DETA CBL2 |  | Signal |  | LMR400LLPL/35ft/NM/NM | LLNL | NIF | InLnCbl-Cbl NM/NM CONN | TB:F3:JB1:A2:J1 |  | LEA09-109718 |  |  |  |  | nTOF INVENTORY
13450434 |  |  |  | HV, D2AKIN, DTLo Well, DETA |  | Signal |  | RG59/SHV/SHV | LLNL | NIF | D2AKIN:DETA in DTLo WeLL:HV | TB:F3:JB1:A2:J2 |  | LEA09-113262 |  |  |  |  | nTOF INVENTORY
13450435 |  |  |  | Control TRG, D2AKIN, DTLo Well, DETA |  | Control |  |  | LLNL | NIF | D2AKIN:DETA in DTLo WeLL:Control TRG | D2AKIN GU in DTLo WELL |  | N5995-39679 |  |  |  |  | nTOF INVENTORY
13450436 |  |  |  | Control TRG, D2AKIN, DTLo Well,DETA, Control UNIT |  | Control |  |  | LLNL | NIF | D2AKIN:DETA:Control UNIT in DTLo WELL:TRG | TB:F3:JB1:A2:J3 |  | LEA09-113264 |  |  |  |  | nTOF INVENTORY
13450437 |  | X | X | LVPWR, D2AKIN DETA, Control UNIT in DTLo Well |  | LV |  |  | LLNL | NIF | D2AKIN::DETA in DTLo Well:GU | TB:F3:JB1:TB1:T1-CC/T2-SHD |  | N5963-39685 |  |  |  |  | nTOF INVENTORY
3.9-DSF-DETA | [13 empty] | N/A
13030650 |  |  |  | ICCS, NET, CBL, DSF, DETA, S1, IBC |  | Control |  |  | LLNL | NIF | ICCS:NET:DM1:409:13:6 | DM1:416:34 |  | LEA99-116054 |  |  |  |  | nTOF3.9-DSF
13030654 |  |  |  | ICCS, NET, CBL, DSF, DETA, HVPS, IBC |  | Control |  |  | LLNL | NIF | ICCS:NET:DM1:409:13:10 | DM1:415:30 |  | LEA99-116054 |  |  |  |  | nTOF-D2
13031108 |  |  |  | ICCS, NET, CBL, DSF, DETA, S2, IBC |  | Control |  |  | LLNL | NIF | ICCS:NET:DM1:409:13:32 | DM1:415:25 |  | LEA99-116054 |  |  |  |  | nTOF3.9-DSF
13450411 |  | X | X | SIG, DSF, DETA, LMR-400, 50FT |  | Signal |  | LMR400LLPL/50ft/NM/NM | LLNL | NIF |  |  |  | LEA09-109718 |  |  |  |  | nTOF3.9-DSF
13450412 |  | X | X | SIG, DSF, DETA, 98", Jmpr, INTR RACK,NM(RA)-290HF-SMAM |  | Signal | 00-30073.01.05 | PCAS733-98/98"/NM(RA)/290HF/SMAM | Federal Custom Cable | NIF | DM1:416:01R:OUT | DM1 416:12:ATTN/DIV |  | LEA11-106169-98 |  |  |  |  | nTOF3.9-DSF
13450413 |  | X | X | SurroControl-SIG, DSF, DETA, LMR-400, 50FT |  | Signal |  | LMR400LLPL/50ft/NM/NM | LLNL | NIF |  |  |  | LEA09-109718 |  |  |  |  | nTOF3.9-DSF
Note on B2223: stanger4: UPGRADE
Note on B2224: stanger4: UPGRADE
Note on B2225: stanger4: UPGRADE
Note on B2226: stanger4: UPGRADE
Note on B2227: stanger4: UPGRADE
Note on B2228: stanger4: UPGRADE
Note on B2229: stanger4: UPGRADE
Note on B2230: stanger4: UPGRADE
Note on B2231: stanger4: UPGRADE
Note on B2232: stanger4: UPGRADE
Note on B2233: stanger4: UPGRADE
Note on B2234: stanger4: UPGRADE
Note on B2235: stanger4: UPGRADE
Note on B2236: stanger4: UPGRADE
Note on B2237: stanger4: UPGRADE
Note on B2238: stanger4: UPGRADE
Note on B2269: stanger4: UPGRADE
Note on B2270: stanger4: UPGRADE
Note on B2271: stanger4: UPGRADE
Note on L4429: stanger4:
Note on M4429: stanger4:
Note on L4430: stanger4:
Note on M4430: stanger4:
Note on L4464: stanger4:
Note on M4464: stanger4:
Note on L4478: stanger4:
Note on M4478: stanger4:
Note on L4480: stanger4:
Note on M4480: stanger4:
Note on L4484: stanger4:
Note on M4484: stanger4:
Note on A4524: stanger4: Replaced by 13454199
Note on A4525: stanger4: Replaced by 1345260
Note on A4526: stanger4: Replaced by 1345261
Note on A4527: stanger4: Replaced by 1345262